# Technical Documentation: TapHome Local Integration for Home Assistant

| Version | Date | Autor |
| --- | --- | --- |
| 1.0.0 | 2.12.2025 | Adrian Mucska+ AI generated |

# Overview and Architecture

This integration provides a bi-directional link between the TapHome smart home system and Home Assistant. It is designed as a Custom Component operating on the Local Polling principle, ensuring low latency and zero dependence on cloud services.

## Operational Principle

- Discovery: Upon initialization, the integration queries the TapHome API (/discovery) to download the complete list of defined devices and their capabilities.

- Entity Creation: Based on the discovery data, appropriate Home Assistant entities (Lights, Climate, Sensors, etc.) are dynamically created.

- Synchronization (Polling): The integration polls the local API (/getAllDevicesValues) at a set interval (default: 2 seconds) to fetch the status of all devices in a single request.

- Control (Write): Commands from Home Assistant are executed immediately by sending an HTTP GET request (/setDeviceValue) directly to the local IP address of the TapHome Core.

# File Structure and Components

The integration is modular, with logic separated by functionality. The files are located in /config/custom_components/taphome_local/.

## Core Components

- manifest.json

  - The integration definition file. It specifies the domain, version, and enables the GUI configuration via "config_flow": true.

- const.py

  - Defines global constants used throughout the codebase (e.g., configuration keys CONF_URL, CONF_TOKEN), preventing syntax errors.

- config_flow.py

  - Manages the graphical setup process (Settings -> Devices & Services).

  - Validates the API connection before saving credentials.

  - Includes an OptionsFlow handler for post-setup configuration (e.g., toggling Debug Logging).

- __init__.py

  - The entry point of the integration.

  - Function async_setup_entry: Initializes the TapHomeCoordinator, stores it in global data, and loads specific platforms.

  - Class TapHomeCoordinator: Manages API communication. Handles data fetching and command execution.

    - Note: Uses the GET method with query parameters for writing values, as required by the TapHome API for simple integrations.

- entity.py

  - Defines the parent class TapHomeEntity.

  - All specific platforms inherit from this class.

  - Key Feature: Centralizes the creation of Device Info, automatically mapping entities to physical devices and assigning them to Areas (Zones) based on TapHome configuration.

## Platforms (Device Types)

- light.py (Lighting)

  - Handles devices with Brightness (Hue, Analog Output) or Color Temperature (CCT) capabilities.

  - Features: On/Off, Dimming, Tunable White.

  - Logic: Implements "Move-to-On" behavior (automatically sends an "On" command when brightness is adjusted while off).

- climate.py (Thermostats)

  - Handles Smart Room Controllers.

  - Features: Current temperature display, Target temperature setting.

  - Logic: Dynamically loads Min/Max temperature limits from TapHome config to render the UI slider correctly. Includes protection against nan (Not a Number) values.

- sensor.py (Sensors)

  - Handles numeric data (Temperature, Humidity, CO2, Power, Brightness...).

  - Logic: Automatically converts raw humidity values (0.0-1.0) to percentages (0-100%). Includes nan protection.

- binary_sensor.py (Binary Sensors)

  - Handles boolean states (e.g., Reed contacts on windows/doors/gates).

- switch.py (Switches)

  - Handles generic relay outputs (Sockets, Valves) that do not have dimming capabilities.

- cover.py (Blinds/Shutters)

  - Handles shading elements.

  - Features: Open, Close, Set Position (converts 0.0-1.0 range to 0-100%).

- select.py (Mode Selectors)

  - Handles MultiValueSwitch entities (e.g., Presence Mode: Home, Away, Vacation).

  - Dynamically populates the list of available options from the API.

- alarm_control_panel.py (Security)

  - Integrates the TapHome Virtual Alarm.

  - Allows Arming (Arm Away), Disarming, and viewing Triggered states.

# Data Flow and Communication

## Reading States (TapHome -> Home Assistant)

The update process runs cyclically (every 2 seconds):

- Request: TapHomeCoordinator sends a GET /getAllDevicesValues request.

- Response: TapHome returns a JSON object containing IDs and attributes for all exposed devices.

- Parsing: Data is parsed into an internal dictionary map.

- Update: The Coordinator notifies all Home Assistant entities. Entities retrieve their specific data from the dictionary and update their state in the HA state machine.

## Writing States (Home Assistant -> TapHome)

Example process for a user interaction (e.g., changing brightness):

- User Action: User moves the brightness slider to 50%.

- Call: The light entity calls coordinator.async_set_value.

- Request Construction: The Coordinator builds the URL: http://<IP>/api/TapHomeApi/v1/setDeviceValue/<ID>?valueTypeId=<Type>&value=<Value>

- Execution: TapHome Core receives the GET request and executes the physical change.

- Feedback: The new state is reflected in Home Assistant during the next polling cycle (within 2 seconds).

# Troubleshooting Guide

- State "Unknown" or "Unavailable":

  - Check Home Assistant logs. If connection errors appear, verify the IP address and API Token in the integration configuration.

- "nan" (Not a Number) Error:

  - If a sensor crashes with a value error, it means TapHome sent invalid data. The integration includes a _safe_float method to catch this and return "Unknown" instead of crashing the component.

- Control not working (Logs show 400 Error):

  - This indicates an incorrect API call format. Ensure the integration is using the GET method with query parameters, not a POST with a JSON body.

- Missing Icons:

  - If the integration icon is missing, ensure icon.png and logo.png exist in the component directory and clear the browser cache (CTRL+F5).

# Development History and Troubleshooting

- v0.0.1 – YAML Prototype (REST Command)

- Status: Attempt to create the integration without writing Python code, using only configuration.yaml.

- Solution: Used rest_command for sending commands and rest sensor for reading data.

- Issue: Very laborious (necessity to write every device ID manually), inefficient, and static.

- v0.1.0 – First Custom Component (Python)

- Change: Transition to a custom component in Python (custom_components/taphome_local).

- Functionality: Basic structure (__init__.py, light.py, climate.py). Implemented automatic device list download (/discovery).

- Issue: Integration did not start due to code errors incompatible with newer Home Assistant versions.

- v0.2.0 – Initialization Fix (Bootstrap Fix)

- Fix:

  - Removed call to async_config_entry_first_refresh, which only works for GUI integrations.

  - Fixed discovery import (error AttributeError: 'HomeAssistant' object has no attribute 'helpers').

- Status: Integration started successfully and loaded entities, but control did not work.

- v0.3.0 – Data Reading Fix (JSON Parsing)

- Diagnostics: Added DEBUG logging. Discovered that the API returns data wrapped in an object {'devices': [...]}, but the code expected a direct list [...].

- Fix: Added logic in _async_update_data to correctly parse the JSON response.

- Status: Entities in HA started showing correct states (On/Off, Temperature), but control still threw error 400.

- v0.4.0 – Write Attempts (POST Payload)

- Attempt: Tried changing JSON format when sending commands (camelCase, PascalCase, lists).

- Result: API still returned error 400: No values specified to set!. Server did not understand the request body.

- v0.5.0 – Functional Control (GET Method)

- Breakthrough: Based on documentation, we found that for simple integrations, TapHome requires parameters directly in the URL, not in the JSON body.

- Fix: Rewrote async_set_value function to use the GET method with query parameters.

- Status: Light and thermostat control started working!

- v0.6.0 – Platform Expansion (All Devices)

- New Feature: Added files for all other device types: sensor.py, binary_sensor.py, switch.py, cover.py (blinds), select.py, alarm_control_panel.py.

- Status: All devices from the JSON appeared in HA.

- v0.7.0 – Stabilization (Nan & Import Fix)

- Issue 1: Sensors crashed with error ValueError: ... non-finite value: 'nan' when TapHome sent an invalid number.

- Issue 2: Alarm crashed on constant import error (STATE_ALARM...).

- Fix:

  - Added _safe_float protection and math.isnan check to sensor.py and climate.py.

  - Fixed imports in alarm_control_panel.py according to the new HA standard.

- v0.8.0 – Light Improvements (Analog Output)

- Issue: Device "Skrinka" (LED strip) behaved only as a switch; missing brightness slider.

- Fix: Added support for AnalogOutputValue (ID 42) in light.py and intelligent mapping to DesiredValue (ID 67).

- v0.8.5 – Device Registry & Areas (Cleanup)

- New Feature: Created entity.py (parent class).

- Function: All entities now inherit from this class, which automatically creates Devices and assigns them to Areas based on the zone name in TapHome. Added detailed attributes (TapHome ID, Category...).

- v0.9.0 – Dual White & CCT Support

- Issue: "Central light" did not have the option to change color temperature (warm/cold white).

- Fix: Updated light.py with support for CorrelatedColorTemperature (ID 89) and loading limits (Kelvin) from configuration.

- v0.9.5 – GUI Configuration (Config Flow)

- Major Change: Removal of dependency on configuration.yaml.

- Files: Added config_flow.py and const.py. Modified __init__.py to use async_setup_entry.

- Function: Integration is now added via the "Add Integration" button in HA settings. Added option to toggle Debug logging via "Configure" button.

- v1.0.0 – Final Polish (Final Release)

- Fix 1 (Humidity): Humidity sensors showed 0.47% instead of 47%. Added calculation (x100) in sensor.py.

- Fix 2 (UX): Light sliders didn't work if the light was off. Added "Move-to-On" logic in light.py (automatically send turn-on command when changing brightness).

- Fix 3 (Climate): Thermostat disappeared due to missing limits. Added dynamic loading of min_temp and max_temp in climate.py.

- Result: Fully functional, robust, local integration configurable via GUI with support for all TapHome device types.